Spectra of Solids

Introduction:

Mulling is a technique used to prepare solids for infrared analysis.  Good results are obtained by this method only if the average particle size of the solid sample is 1 or 2 microns.  Therefore, it is necessary to grind the sample.

The most common mulling agent is mineral oil.  Mineral oil is used because it does not have a lot of absorbance in the infrared range.  It may be advantageous to take a spectrum of plain mineral oil so the peaks that are caused by the oil can be differentiated when running a sample.

Purpose:

The purpose of this experiment is to obtain the infrared spectrum of a solid prepared as a mull in mineral oil.

Equipment / Materials:

mullite or agate mortar and pestle

mineral oil

NaCl windows

Pasteur pipet and bulb

safety gloves

Samples:

benzoic acid

citric acid

talc (baby powder)

acetylsalicylic acid (aspirin)

salicylic acid

sodium bicarbonate (baking soda)

solid unknowns

Safety:

Always wear safety glasses and an apron in the lab.

Always wear gloves when handling the samples and sodium chloride plates.

Procedure:

1.	Place 10 to 15 mg of one of the samples in a mortar.

2.	Break up the solid and distribute it over the surface of the mortar by lightly grinding with the pestle.

3.	Grind the sample with a vigorous, hard, back and forth motion with the pestle until it becomes firmly caked on the sides of the mortar and quite glossy in appearance.

4.	Add a small drop of mineral oil to the mortar with a pipet.

5.	Grind the sample until all the material is suspended in the mineral oil.  It may be necessary to add another drop of mineral oil.

A note on sodium chloride cells:

Sodium chloride dissolves in water.  Consequently, great care must be taken to ensure that no water or moist materials come in contact with the NaCl cells.  For this reason all cells are to be stored in a desiccator at all times.  Always clean the cells before and after use.  Wipe off the sample with a tissue or paper towel, clean thoroughly with acetone, and allow to dry.   A spectra of the clean sodium chloride cells can be run to ensure their cleanliness.

6.	Transfer the mull from the mortar to the surface of a sodium chloride cell.

7.	Place the other sodium chloride cell on top of the sample and smear the two together, making sure the whole surface area between both cells is covered and no bubbles are present.

8. 	Place the cells into the cell holder.

9.	Place the cell holder into the instrument and run a scan of the sample.

10.	Clean the sodium chloride cells with acetone, and store in a desiccator.

11.   If time permits, repeat procedure using an  unknown sample.

Data Table:

List and identify the major peaks.

Sample:_____________________

Unknown # __________________

| Major Peaks (cm-1) | Functional groups |
| --- | --- |
| ________________ | ________________ |
| ________________ | ________________ |
| ________________ | ________________ |
| ________________ | ________________ |
| ________________ | ________________ |

Identity of Unknown:________________

Attach Spectrum

Questions:

1.  Why was it necessary to obtain a spectrum of mineral oil?

2.  Why was the mineral oil used?