The Effects of Time, Distance, and Shielding on Nuclear Radiation

Inquiry-Based

PA State Standards:

3.7.10.B	Apply appropriate instruments and apparatus to examine a variety of objects and processes.

Describe and use appropriate instruments to gather and analyze data.

3.4.10.A	Explain concepts about the structure and properties of matter.

Know that atoms are composed of even smaller sub-atomic structures whose properties are measurable.

3.2.12.C	Apply the elements of scientific inquiry to solve multi-step problems.

2.8.11.P	Analyze a relation to determine whether a direct or inverse variation exists and represent it algebraically and graphically.

2.5.11.B	Use symbols, mathematical terminology, standard notation, mathematical rules, graphing and other types of mathematical representations to communicate observations, predictions, concepts, procedures, generalizations, ideas and results.

1.2.11.A	Read and understand the central content of informational texts and documents in all academic areas.

Introduction:

There are three main types of radiation:  (alpha),  (beta) and  (gamma).  Alpha radiation consists of a stream of fast-moving helium nuclei (two protons and two neutrons).  An alpha particle is relatively heavy and carries two positive electrical charges. Alpha particles are slow moving and not very energetic.  Beta radiation consists of fast-moving electrons.  Beta particles have more energy and are lighter than alpha particles.  Beta particles carry a negative electrical charge.  Gamma radiation consists of high energy photons, which are massless and carry no charge.  All of three types of radiation have the ability to form ions with any matter they encounter, making them detectable with a Geiger-Muller tube.

This experiment uses sealed sources of alpha, beta, and gamma radiation.  Time, distance, and shielding will be the variables studied.  While one of the variables is being tested, the other two will be held constant.

Guiding Questions:

Please answer the following questions before beginning the lab.

1.	What mathematical relationship might exist between the time of exposure to radiation and amount of radiation detected?

2.	What mathematical relationship might exist between the distance from the source of radiation and the amount of radiation detected?

3.	Based on the information provided in the introduction, which type of radiation may be the most difficult to stop with shielding?

Equipment / Materials:

Forceps

Scaler

Sealed sources (alpha, beta, and gamma)

Shelf

Shields

Safety:

- This experiment presents no unusual safety hazards.  It is good technique to handle all radioactive sources with forceps.

- Always wear goggles in the lab

Procedure:  Background Readings and Use of the Scaler

1.	Plug in the scaler, and allow it to warm up for a few minutes.  Set the voltage to the operating voltage determined earlier or to the voltage provided with the instrument.  To set the voltage, press the HV button and adjust with the UP and DOWN buttons.

2.	Press the TIME button and adjust the time to 30 seconds by using the UP and DOWN buttons. Press the COUNT button to begin counting, then press TIME to get out of TIME mode.  Note: if the red light above TIME is lit, the reading will be the number of seconds that the scaler has been counting, not the radioactive count.

3.	Record the 30 second background reading and take another.  Due to the randomness of radioactive decay, the background readings will likely not be the same.  Average the two readings.  A background reading should be taken at the end of the experiment to assure that radioactive levels in the lab have returned to normal.

Experiment:

1.	Place a sealed source label-side down on the second shelf from the top.  Determine how length of exposure affects radioactive counts.  Create a data table for your results.  Graph your data.

2.	Vary the distance betweent the source and the detector to determine how distance affects the counts.  Create a data table for your results.  Graph your data.

3.	Place the source on the second shelf.  The shields are located beside the sample compartment.  Determine the effectiveness of various shielding on the radioactive sources.  Create a data table for your results.

Questions:

1.	What were the three independent variables studied in this experiment?

2.	Describe the mathematical relationship between time and amount of radiation detected.

3.	Describe the mathematical relationship between distance and amount of radiation detected.

4.	Describe the differences between the distance the types of radiation traveled, and offer an explanation as to why they occur.

5.	What happened when the distance between the beta source and the detector doubled?

6.	How do you know if a shielding material has completely stopped a particular type of radiation?

7.	According to the data, what is the thinnest, least dense substance tested that would be required to stop each of the three types of radiation?

8.	If exposed to a source of high radiation, what should one do to protect oneself?

9.	Explain the procedures taken to keep constant the variables not being tested.