Separation of Alcohols

PA State Standards:

3.7.12.A	Apply advanced tools, materials and techniques to answer complex questions.

Demonstrate the safe use of complex tools and machines within their specifications.

3.4.10.A	Explain concepts about the structure and properties of matter.

Apply knowledge of mixtures to appropriate separation techniques.

2.1.8.D	Apply ratio and proportion to mathematical problem   distance, rate, time and similar triangles.

1.2.11.A	Read and understand the central content of informational texts and documents in all academic areas.

Introduction:

Chromatography is a separation technique utilizing a stationary phase and a mobile phase.  In gas chromatography, the stationary phase is a solid material packed in a coiled column, and the mobile phase is a gas.

The gas chromatograph is an instrument that allows a chemist to separate a mixture of gases or volatile liquids.  Separation is based on the size, structure, polarity of the molecules.

Retention time is used to identify the components, and the area under the curve is used to determine the relative quantities of the components.  In this experiment, a HAYSEP-D column and air are used to separate 2-propanol, ethanol, and methanol.

2-propanol	Ethanol				Methanol

Boiling Point 78 C	Boiling Point 82C			Boiling Point 65C

Vocabulary:

Area under the curve – used to determine the relative amount of the components

Retention Time – the amount of time necessary for a component to move through the column

Guiding Questions:

Please answer the following questions before beginning the lab.

1.  Which of the three alcohols will have the shortest retention time?

2.  Which of the three alcohols will have the longest retention time?

Equipment/Materials:

air gas chromatograph                                                     vial of methanol

computer with Peak Simple software                              vial of ethanol

printer                                                                              vial of 2-propanol

all power cords and cables                                               unknown samples of alcohol

10 microliter syringe					      Kimwipes

Safety:

- Always wear safety glasses in the lab.

- Handle the syringes carefully.  The syringes are very dangerous, especially when filled with hazardous chemicals.  They also break easily.  Do not allow the syringe to roll off of the lab bench.  When injecting the sample, push the plunger straight so that it does not bend.

- The gas chromatograph is like an oven, so the injection port may be hot.  Use caution.

Procedure:

- Turn on the GC and start the Peak Sample software.  A data acquisition system popup should appear with phrases like initializing, waking up, signing on, setting modes, and calibrating.

- Be sure the time scale starts at zero and ends at 7 min.  Use the arrows to adjust if necessary.

- Clean the syringe by rinsing it 10 times with one of the standards.  With the plunger fully depressed, place the needle through the septum and into the sample.  Slowly draw up the plunger to obtain a sample in the syringe.  Remove the syringe from the sample.  Discharge this sample into the sink or onto a Kimwipe.  Depress the plunger, and put the syringe needle back into the sample.  Draw up a second sample and discharge it.  Repeat.  Do not push on the plunger when the needle is inside a sample.

- Place the syringe needle back into the sample and withdraw over 1 microliter.  Remove the needle from the sample bottle, then depress the plunger to the 1 microliter line.  Wipe the needle with a Kimwipe.

5.   Click on the Z or ( button on the run screen to zero the current.

6.   Insert the needle carefully into the injection port of the GC until the entire needle is inside the instrument.

7.  Inject the sample and start the data collection simultaneously by depressing the syringe plunger and pressing the space bar on the computer at the same time.

8.  When the sample peak of a standard returns to baseline, the run may be stopped by pressing the end button on the computer.  After pressing end, print the graph.  Be sure to label the graph.

9.  Repeat steps 3 -- 8 for the other 2 known alcohols and the unknown alcohol.  When running an unknown sample, be certain to let the data collect long enough to get all possible peaks.

Data:

| Standards | Retention time |
| --- | --- |
| 2-propanol |  |
| Ethanol |  |
| Methanol |  |

| Unknown 1 | Retention Time (min) | Identity of Peak |
| --- | --- | --- |
| Peak 1 |  |  |
| Peak 2 |  |  |
| Peak 3 |  |  |

| Unknown 2 | Retention Time (min) | Identity of Peak |
| --- | --- | --- |
| Peak 1 |  |  |
| Peak 2 |  |  |
| Peak 3 |  |  |

| Unknown 3 | Retention Time (min) | Identity of Peak |
| --- | --- | --- |
| Peak 1 |  |  |
| Peak 2 |  |  |
| Peak 3 |  |  |

| Unknown 4 | Retention Time (min) | Identity of Peak |
| --- | --- | --- |
| Peak 1 |  |  |
| Peak 2 |  |  |
| Peak 3 |  |  |

| Unknown 5 | Retention Time (min) | Identity of Peak |
| --- | --- | --- |
| Peak 1 |  |  |
| Peak 2 |  |  |
| Peak 3 |  |  |

Calculations:

1.  Calculate the area of each peak in the unknown.  Treat each peak as a triangle to find its area.  Find the total area by summing the areas of the individual peaks.  (Note:  if the computer is set to determine the area, that value from the print-out may be used.)

2.  Use the areas of the peaks to determine the percent composition of the mixture.

3.  If given the correct answers, calculate the percent error for you calculations.

Unknown 1

| Component | Area | Percent Composition | Percent Error |
| --- | --- | --- | --- |
| 2-propanol |  |  |  |
| Ethanol |  |  |  |
| Methanol |  |  |  |

Unknown 2

| Component | Area | Percent Composition | Percent Error |
| --- | --- | --- | --- |
| 2-propanol |  |  |  |
| Ethanol |  |  |  |
| Methanol |  |  |  |

Unknown 3

| Component | Area | Percent Composition | Percent Error |
| --- | --- | --- | --- |
| 2-propanol |  |  |  |
| Ethanol |  |  |  |
| Methanol |  |  |  |

Unknown 4

| Component | Area | Percent Composition | Percent Error |
| --- | --- | --- | --- |
| 2-propanol |  |  |  |
| Ethanol |  |  |  |
| Methanol |  |  |  |

Unknown 5

| Component | Area | Percent Composition | Percent Error |
| --- | --- | --- | --- |
| 2-propanol |  |  |  |
| Ethanol |  |  |  |
| Methanol |  |  |  |

Questions:

- Why was it important to run known samples of possible components in the unknown mixture?

- If a pure sample were properly injected into the gas chromatograph and several peaks were observed, what can be concluded about the sample?

- Why is it important to clean the syringe between samples?

- Why is it important to wipe the needle before injecting the sample into the instrument?