Spiking Analysis of Dry Gas

PA State Standards:

3.4.10.A	Explain concepts about the structure and properties of matter.

Apply knowledge of mixtures to appropriate separation techniques.

3.7.10.A	Identify and safely use a variety of tools, basic machines, materials and techniques to solve problems and answer questions.

Apply advanced tool and equipment manipulation techniques to solve problems.

3.7.12.A	Apply advanced tools, materials and techniques to answer complex questions.

Demonstrate the safe use of complex tools and machines within their specifications.

Introduction:

There are many different brands of gasoline additives on the market that use different ingredients. They all basically do the same job -- removing water and dirt from fuel lines.  Many laboratories test these formulas to determine the list of components by utilizing a gas chromatography technique called spiking.

For every compound present in a sample there should be a peak recorded, and the relative peak size indicates the percent composition of each compound in the sample.  Spiking involves adding a pure compound to an unknown sample to either make a solution (two or more compounds) or simply increase the volume of the gasoline additive.  The following illustrations are of some samples and their corresponding chromatograms.

Compound A

Compound B

Compounds A & B

Suppose sample A is spiked with sample B.  How many peaks would be recorded?

Suppose the solution of A and B is spiked with a third  compound 'C.'  How many peaks should be recorded?

Suppose the solution of A and B is spiked with pure compound A.  How will the chromatogram look now?

Purpose:

The purpose of this experiment is to use the spiking technique to determine the ingredients of  an unknown gasoline additive.

Equipment / Materials:

| air GC | several gasoline additives | methanol |
| --- | --- | --- |
| computer | micro syringe | acetone |
| printer | 1mL micro pipets and tips | 2-propanol |
| small sample vials | ethanol | Kimwipes |

Safety:

Wear goggles at all times; eyes are particularly sensitive to these organic compounds.

Use extreme caution in handling the GC syringes.

Do not touch the injection port, its temperature is over 100oC.

Procedure:

- Turn on the GC and start the Peak Sample software.  A data acquisition system popup should appear with phrases like initializing, waking up, signing on, setting modes, and calibrating.  If you get a popup saying can’t wake – check power and cable, try one of the following options.

  - Check to make sure that the cable between the GC and computer is properly attached and that the GC is on.

  - Close the program.  Unplug the USB cord from the computer, then plug it in again.  Restart the program.  If it still won’t wake, try the next option.

  - Click on the Edit Menu, then select Overall.  In the COM Port/USB device number box, try a number from 1 – 5.  Keep trying until the data acquisition system begins to function.

- Click on edit menu, then select channels.  Under Channel 1, pick Temperature.  Click on the numbers to highlight them, then click Change.  Change the numbers as follows:

Start 150(C

Hold 10 minutes

Ramp 0 degree / min

Until the temperature is 150(C

- Be sure the time scale starts at zero and ends at 10 min.  Use the arrows to adjust.

- Clean the syringe by rinsing it 10 -- 15 times with one of the gasoline additives.  With the plunger fully depressed, place the needle into the sample.  Slowly draw up the plunger to obtain a sample in the syringe.  Remove the syringe from the sample.  Discharge this sample into the sink or onto a Kimwipe.  Depress the plunger, and put the syringe needle back into the sample.  Draw up a second sample and discharge it.  Repeat.  Do not push on the plunger when the needle is inside a sample.

- Place the syringe needle back into the sample and withdraw over 1 microliter.  Remove the needle from the sample bottle, then depress the plunger to the 1 microliter line.  Wipe the needle with a Kimwipe.

6.   Click on the Z or ( button on the run screen to zero the current.

7.   Insert the needle carefully into the injection port of the GC until the entire needle is inside the instrument.

8.  Inject the sample and start the data collection simultaneously by depressing the syringe plunger and pressing the space bar on the computer at the same time.

9.  When the sample peak of a standard returns to baseline, the run may be stopped by pressing the end button on the computer.  After pressing end, print the graph.  Be sure to label the graph.

10.	Obtain one of the standard ingredients, and add it to the gasoline additive by placing 1 mL of each into a small clean vial.  This is the spiking step.

11.	Rinse the syringe with the spiked sample.  Make an injection of the spiked sample and determine if the standard ingredient is any part of the original gasoline additive.  (Did the gasoline additive contain any of that standard compound before it was spiked?)

12.	Repeat the steps with the other standards.  Make sure the dry gas is spiked with only one standard at a time.

Data:

| Gasoline Additive | Number of Peaks |
| --- | --- |

| Spiking Ingredients | Present in original sample (Y/N) |
| --- | --- |
| acetone |  |
| 2-propanol |  |
| methanol |  |
| ethanol |  |

Questions:

1.	If there is only one peak, does this always indicate that the sample was pure?  Explain why or why not.

2.	If the same number of  peaks is present before and after spiking, what can be inferred?

3.	Suppose the sample showed two peaks before spiking (e.g. acetone and methanol).  What will happen to the relative peak size if it is spiked with more acetone?

4.	If an additional peak is present after spiking the sample, what can be inferred?

5.	How can this technique be used to identify pollutants such as pesticides or drugs?

6.	If more than one extra peak is present after spiking with a pure compound, what probably happened in the solution?