Gold Nanoparticles:  Synthesis, Spectroscopy, and Atomic Force Microscopy

PA State Standards:

1.2.11.A	Read and understand the central content of informational texts and documents in all academic areas.

- Use teacher and student established criteria for making decisions and drawing conclusions.

2.5.8.B	Verify and interpret results using precise mathematical language, notation and representations,  including numerical tables and equations, simple algebraic equations and formulas, charts, graphs, and diagrams.

3.1.10.D		Apply scale as a way of relating concepts and ideas to one another by some measure.

- Convert one scale to another.

3.4.10. A	Explain concepts about the structure and properties of matter.

3.7.12.A		Apply advanced tools, materials, and techniques to answer complex questions.

- Demonstrate the safe use of complex tools and machines within their specifications.

- Introduction:

Gold nanoparticles, also known as colloidal gold, are small spheres of gold and can be obtained in sizes between 3 and 150 nm in diameter.  In this reaction, sodium citrate reduces the gold cations in hydrogen tetrachloroaurate.  As the gold metal forms, anions coat the outside of the particles preventing them from forming larger particles.  The small gold nanoparticles that are formed stay in solution because their coatings are negatively charged and repel each other, preventing aggregation.  Nano-sized materials often have different properties than the bulk materials; for example, gold nanoparticles appear red.

Guiding Question:

Please answer the following question before beginning the lab.

Sometimes the sizes of the particles synthesized are fairly uniform; other times, their sizes are more varied.  What effect might a large variance in particle size have on the width of the peak in the visible spectrum?

- Equipment / Materials:

0.6 mM hydrogen tetrachloroaurate

0.04 M sodium citrate

2-20 µL pipetman

50-200 µL pipetman

10 mL pipetman

Droppers

Hot plate

UV-VIS spectrophotometer

Plastic cuvettes

Kimwipes

Deionized water

25 mL Erlenmeyer flask

Magnetic probes

9.9 mm mica discs

15 mm AFM discs

Razor blades

Disc gripper

Double stick tape

Heat block

AFM

Glass vials

Small magnetic stir bars

10 mL beakers

- Safety:

- Always wear safety glasses in the lab.

- Procedure:

- Part I: Synthesis of Colloidal Gold

1.	Using a 10 mL automatic pipet, place 10.0 mL of hydrogen tetrachloroaurate (HAuCl4) solution into a 25 mL Erlenmeyer flask.  Discard the tip.  (A 10mL graduated cylinder may be used instead of the automatic pipet.)

2.	Place a small magnetic stirring bar in the flask.  Heat the solution on a hot plate on a high setting while stirring until it is boiling vigorously.

3.	Using a new tip, add 2.0 mL of sodium citrate (C6H5O7Na3) solution rapidly with the 10 mL pipetman.  Discard the tip.  (No more than 2.0 mL should be used.)  The nanoparticles will not form correctly if this solution is not added rapidly. Observe the color changes in the solution.

4.	Once the solution has reached a scarlet or deep burgundy color, allow it to continue boiling another minute.

5.	Remove the Erlenmeyer from the hot plate and let cool.

Part II: Preparing a Sample for Atomic Force Microscopy (AFM)

1.	Perform a 1/10 dilution of your sample.  First, using a 200 µL automatic pipet, place 180 µL of deionized water in a 10 mL beaker along the edge.   (Keep this tip for Step 2.)  Next, using a 20 µL automatic pipet, place 20 µL of the gold nanoparticle solution into the water.

2.	Mix the solution by using the 200 µL automatic pipet, still set to 180 µL, to withdraw and expel the solution several times.  It is not necessary to withdraw all of the solution; if air begins to be drawn in as well, the solution may get into the interior of the instrument and damage it.

3.	Obtain a 15 mm steel AFM disc with attached mica.

4.	Adhere the disc to a sturdy surface using double sided tape.

5.	Cleave the disc by using single-sided tape and pressing the tape down evenly on the shiny surface.  Pull it off in a smooth motion.  There should be a visible sliver of mica on the tape now.

6.	Repeat this cleavage process if necessary until the mica is mirror smooth.  (There may be a few surface irregularities.)  Once the mica has been cleaved, do not allow anything to come into contact with its surface!

7.	Carefully slide the mica disc off the tape while firmly gripping it with the disc grippers.  If the disc will not slide off of the tape, it may be necessary to use a razor blade to pry it from the tape (be careful not to cut your disc or yourself).  Transfer the disc with the magnetic probe.

8.	Place the mica disc with the number side down on the heating block set to 60°C.  Be sure to diagram the location of your disc so you can find it later.

9.	Apply 20 µL of the diluted gold colloid solution to the smoothest region on the mica.  Draw a simple picture of your sample disc indicating which portion was covered with solution. A black tick mark has been added to each disc for reference.  This will allow you to locate the nanoparticles more easily when you use the AFM.

10.	Allow the disc to remain on the heating block for at least an hour.  After an hour, if the disc appears dry, it may be returned to the disc carrier to keep dust from settling on it.

Part III: Spectrophotometric Analysis of the Colloidal Gold

1.	With the sample compartment empty, turn on the power switch on the back of the instrument.  Let the instrument initialize and run through the self-diagnostic.

2.  	Use the down arrow to select “VIS” from the menu, and then press the Enter button.

3.	Press the green button under “Run Test.”

4.	Half fill a cuvette with deionized water.  Wipe the unfrosted sides with a Kimwipe.  Place the cuvette in the sample compartment with the unfrosted sides facing the front and back.  Close the lid.

5.	Press the green button under “Collect Baseline” and wait for the collection to be completed.  (The baseline will be stored in the instrument, but will not appear on the screen.  “Baseline Collected” will appear when the scan is complete.)

6.  	Remove the water blank and add enough sample to the water to fill the cuvette ¾ full.  Return the cuvette to the sample compartment, making certain to orient it correctly.

7.	Press the green button under “Measure Sample” to begin the scan.

8.  	When the scan is completed, press the button under “Edit Graph.”

9.	Press the green button under “Math.”

10.	Press the green button under “Peaks & Valleys.”  A pop-up menu will appear.

11.	Press Enter to turn on “Label Peaks.”

12.	Press ESC to exit the menu.  The wavelength of maximum absorbance (λmax) will be labeled.  Record the λmax and its absorbance in the data section.

13.	Divide the absorbance at the λmax by 2 and record in the data section.

14.	Press the green Print button at the bottom right corner of the keypad.  Carefully remove the printout from the printer.

15.	Press ESC.

16.	Press the green button under “Edit Scale.”

17.	Press the green button under “Cursor.”

18.	 Using the up arrow, advance the cursor to the right side of the peak until it is as close to the value determined in Step 13.  Record the wavelength at this absorbance in the data section.

19.	Rinse the cuvette immediately to prevent staining.

Part IV: AFM Analysis

1.	The AFM and laptop should already be setup with easyScan DFM already opened.

2.	Transfer your mica disc onto the circular metal stage, lightly pressing it onto the double sided tape with the number side down.

3.	Making sure that the microscope scanning tip is raised high enough to provide clearance, carefully slide the stage under microscope tip.

4.	Using the two front screws on the AFM as a coarse adjustment, turn them counterclockwise to lower the tip closer to the mica disc surface.  Carefully watch your progress on the video screen.  Stop safely before the shadow and tip are touching on the monitor.  The scanning head should be fairly level.

5.	Before proceeding, set up your scan parameters.  In the scan window, set the z-range to 0.288 µm, the scan range to 15 µm, and the time/line to 0.500 s.  In the feedback panel, set the setpoint to 50% then click apply.

6.	Click “Approach.”  Watch for the window to read “Approach Done!” and then watch the scan results begin to accumulate in the main viewing window.

7.	Using the Z-scan window, determine the scan angle by using the angle tool and adjust the angle in the x-slope box.  After the x-slope is corrected, set the rotation to 90.0° to determine the y-slope.  Determine this angle by using the angle tool and adjust the angle in the y-slope box.  Once the y-slope is correct, set the rotation back to 0.0°.

8.	The scan should start over automatically.  Click “Finish” and “Photo”, then wait for the AFM to stop scanning.

9.	Save the scan to a thumb drive.  Remove the drive and use the other laptop to measure your particles.

10.	In the easyData window, choose a particle (white spot).  If you do not see any particles, press optimize in the view panel.

11.	Slide the arrow in the right hand margin up and down the y-axis and watch the peaks in the z-line view window.  Choose one well-isolated peak in the z-window and carefully slide the arrow along the y-axis until that peak is at its maximum.

12.	Select the distance tool, found in the top tool bar, and measure the peak height by clicking once on the baseline and once at the top of the peak.  Read the distance in the tool info panel that will appear to the right.  Record your data in the data section.

13.	Repeat steps 10-12 for at least 5 particles.

Data:

Part III: Spectrophotometric Analysis of the Colloidal Gold

|  | Wavelength (nm) | Absorbance |
| --- | --- | --- |
| λmax |  |  |
| λ1/2max |  |  |

Data:

Part IV: AFM Analysis – Measure as many isolated particles as possible.

| Calculations: Particle | Peak Height (nm) |
| --- | --- |
| 1 |  |
| 2 |  |
| 3 |  |
| 4 |  |
| 5 |  |
| 6 |  |
| 7 |  |
| 8 |  |
| 9 |  |
| 10 |  |
| 11 |  |
| 12 |  |
| 13 |  |
| 14 |  |
| 15 |  |

1.	To determine the Peak Width and Half Max (PWHM), first subtract the λmax

- from the λ1/2max.  The difference is half the peak width.  Multiply by 2 to get the PWHM.

- 2.	Determine the average and standard deviation for the data from Part IV.

3.  Determine the average number of atoms per nanoparticle using the following formula:

N = number of atoms per nanoparticle

π = 3.14159…

ρ = density of face centered cubic (fcc) gold = 19.3g/cm3

D = average diameter of nanoparticles (from calculation 2)

M = atomic mass of gold

NA = number of atoms per mole

Note:  This equation is taken from Liu, Atwater, Wang, and Huo (see References.)  It assumes that the nanoparticles have a spherical shape and a uniform fcc crystalline structure.

Be sure your units are consistent!

4.	Determine the molar concentration of the nanoparticle solution using the following formula:

C = molar concentration of nanoparticle solution

NT = Total number of gold atoms added as HAuCl4

N = number of atoms per nanoparticle (from calculation 3)

V = volume of the reaction solution in L

NA = number of nanoparticles per mole

Note:  This equation is also taken from Liu, Atwater, Wang, and Huo (see References.)  It assumes that the reduction of Au3+ to Au0 was complete.

Questions:

1.	What is the average peak height that you obtained, and how does it compare to the known diameter of the gold nanoparticles made with this procedure (between 3 and 20 nm)?

2.	Are the peak heights you obtained similar?  What does the standard deviation tell you?

3.   Compare your data with that of your classmates.  How does the standard deviation relate to the PWHM?

- Acknowledgements:

- Penn State Center for Nanotechnology Education and Utilization

For more information contact Amy Brunner at abrunner@engr.psu.edu or visit www.cneu.psu.edu

References:

Liu, X., Atwater, M., Wang, J., & Huo, Q. (2006). Extinction coefficient of gold nanoparticles with different sizes and different capping ligands. Colloids and Surfaces B: Biointerfaces.

Solomon, S. D., Bahadory, M., Jeyarajasingam, A. V., Rutkowsky, S. A., Boritz, C., & Mulfinger, L. (2007). Synthesis and Study of Silver Nanoparticles. Journal of Chemical Education , 322-325.