Spectrophotometric Analysis of Aspirin

Introduction:

A colored complex is formed between aspirin and the iron (III) ion.  The intensity of the color is directly related to the concentration of aspirin present; therefore, spectrophotometric analysis can be used.  A series of solutions with different aspirin concentrations will be prepared and complexed.  The absorbance of each solution will be measured and a calibration curve will be constructed.  Using the standard curve, the amount of aspirin in a commercial aspirin product can be determined.

The complex is formed by reacting the aspirin with sodium hydroxide to form the salicylate dianion.

The addition of acidified iron (III) ion produces the violet tetraaquosalicylatroiron (III) complex.

Purpose:

The purpose of this lab is to determine the amount of aspirin in a commercial aspirin product.  This lab may also be used to determine the purity of the aspirin produced in the Microscale Synthesis of Acetylsalicylic Acid lab.

Equipment / Materials:

| 6 - 125 mL erlenmeyer flasks | commercial aspirin product or aspirin the student has made |
| --- | --- |
| 10 mL graduated cylinder | acetylsalicylic acid |
| 250 mL volumetric flask | 1 M NaOH |
| 100 mL volumetric flask | 0.02 M iron (III) buffer |
| 5 mL pipet | spectrophotometer |
| 2 cuvettes | DI water |
| analytical balance (opt.) |  |

Safety:

·	Always wear goggles and an apron in the lab.

·	Be careful while boiling the sodium hydroxide solution.  NaOH solutions are dangerous, especially when hot.

Procedure

# Part I: Making Standards.

1.	Mass 400 mg of acetylsalicylic acid in a 125 mL Erlenmeyer flask.  Add 10 mL of a 1 M NaOH solution to the flask, and heat until the contents begin to boil.

2.	Quantitatively transfer the solution to a 250 mL volumetric flask, and dilute with distilled water to the mark.

3.	Pipet a 2.5 mL sample of this aspirin standard solution to a 50 mL volumetric flask.  Dilute to the mark with a 0.02 M iron (III) solution.  Label this solution "A," and place it in a 125 mL Erlenmeyer flask.

4.	Prepare similar solutions with 2.0, 1.5, 1.0, and 0.5 mL portions of the aspirin standard.  Label these "B, C, D, and E."

Part II: Making an unknown from a tablet.

1.	Place one aspirin tablet in a 125 mL Erlenmeyer flask.  Add 10 mL of a 1 M NaOH solution to the flask, and heat until the contents begin to boil.

2.	Quantitatively transfer the solution to a 250 mL volumetric flask, and dilute with distilled water to the mark.

3.	Pipet a 2.5 mL sample of this aspirin tablet solution to a 50 mL volumetric flask.  Dilute to the mark with a 0.02 M iron (III) solution.  Label this solution "unknown," and place it in a 125 mL Erlenmeyer flask.

Part III: Making an unknown from the product of the Microscale Synthesis of Acetylsalicylic Acid lab.

1.	Mass all of the acetylsalicylic acid product and record the mass in the data section.  Place it in a 125 mL Erlenmeyer flask.  Add 10 mL of a 1 M NaOH solution to the flask, and heat until the contents begin to boil.

2.	Quantitatively transfer the solution to a 250 mL volumetric flask, and dilute with distilled water to the mark.

3.	Pipet 10 mL sample of this aspirin solution to a 50 mL volumetric flask.  Dilute to the mark with a 0.02 M iron (III) solution.  (When adding 0.02 M iron (III) solution, the color should be obviously purple.  If it is not, stop adding the 0.02 M iron (III) solution, and alert your instructor.)  Label this solution "unknown," and place it in a 125 mL Erlenmeyer flask.

Part IV:  Testing the Solutions.

1.	Turn on the spectrophotometer by twisting the front left knob clockwise.  Allow the spec to warm up for 15 minutes.

2.	Adjust the wavelength to 530 nm using the large knob on top of the spec.

3.	With the sample compartment empty, set the instrument to 0%T using the zero control knob (front left knob).

4.	Using a Kimwipe, wipe off the cuvet containing the blank (0ppm), and place this cuvet in the sample compartment, being sure to properly align it.  (The line on the cuvet should match up with the notch on the instrument.) Close the cover.

5.	Set the mode to absorbance.  Using the trans/abs control knob (front right knob) set the absorbance to 0.000.

6.	Record the absorbance of the 0ppm solution – this should be a cuvet of iron buffer.

7.	Obtain absorbance readings for each of the other standard solutions.  Record the results on the data sheet.

8.		Measure and record the absorbance of the unknown.  Record it on the data sheet.

Data:

| Solution | Concentration (mg/L) | Absorbance |
| --- | --- | --- |
| A |  |  |
| B |  |  |
| C |  |  |
| D |  |  |
| E |  |  |
| unknown |  |  |

For commercial Product:

amount of aspirin in unknown 					  mg

accepted value							  mg

percent error					___________________%

For microscale lab product:

# mass of impure product			___________________ mg

mass of aspirin in product			___________________ mg

% purity of product				___________________%

Questions:

1.	Explain why the wavelength of 530 nm was used.

2.	How did the concentration of your aspirin solution compare to the accepted value?

3. 	Is it better to buy generic or brand name aspirin?   Support your conclusion.