Determination of Wavelength of Maximum Absorbance

Scanning Spectrophotometer

PA State Standards Addressed:

3.7.10.B	Apply appropriate instruments and apparatus to examine a variety of objects and processes.

3.4.10.C		Distinguish among the principles of force and motion.

Describe light effects.

2.6.5.A	Organize and display data using pictures, tallies, tables, charts, bar graphs and circle graphs.

1.2.11.A	Read and understand the central content of informational texts and documents in all academic areas.

Introduction:

White light is a mixture of all the colors of light.  When white light passes through a colored substance, certain colors of light are absorbed while other colors pass through or are reflected by the substance.  The color seen is the visible light that is not absorbed by the sample.  A colored solution has the greatest absorbance in its complementary color range.  A complimentary color is the opposite color on the color wheel.

For example, a blue solution appears blue because it is absorbing all of the colors of light except blue.  It will have the greatest absorbance in the orange range because orange is the complimentary color of blue.

By measuring the amount of light absorbed, the concentrations of solutions can be determined.  Before doing this type of spectral analysis, the wavelength at which the absorbance is greatest needs to be determined.  The spectrophotometer is more sensitive to absorbance changes at this wavelength.  Thus, the wavelength of maximum absorbance is typically used for the analysis.

To determine the wavelength of maximum absorbance, the absorbance over the range of 400nm to 650nm is measured, usually in intervals of  25nm.  The data can be examined or graphed to determine the wavelength of maximum absorbance.

Guiding Question:

A red solution will have the maximum absorbance in which color range?

Vocabulary:

Blank – everything in the solution except the substance being analyzed; often just the solvent used to make the solution.

Complimentary Color – opposite color on the color wheel.

Nanometer – One billionth of a meter, or 10-9m.

Primary Color – Pure color, not a mixture. ex. red, blue, yellow.

Secondary Color – Mixture of primary colors.  ex. orange, green, violet.

λ – accepted abbreviation for wavelength.

Equipment / Materials:

Colored water

Cuvet

DI water

Droppers

Kimwipes

Scanning spectrophotometer

Test Tube Rack

Safety:

Always wear goggles and in the lab.

Procedure:

- With the sample compartment empty, turn on the power switch.  Let the instrument initialize and run through the self-diagnostic.

- Use the down arrow to select “VIS” from the menu, and then press the Enter button.

- Press the green button under “Run Test.”

- Fill a clean cuvet with deionized water.  Wipe the unfrosted sides with a Kimwipe.  Place the cuvet in the sample compartment with the unfrosted sides facing the front and back.  Close the lid.

- Press the green button under “Collect Baseline” and wait for the collection to be completed.  (The baseline will be stored in the instrument, but will not appear on the screen.  “Baseline Collected” will appear when the scan is complete.)

- Remove the blank and dump the contents into the sink.  Rinse the cuvet twice with small amounts of sample.  Fill the cuvet ¾ full with sample.  Return the cuvet to the sample compartment, making certain to orient it correctly.

- Press the green button under “Measure Sample” to begin the scan.

- When the scan is completed, press the button under “Edit Graph.”

- Press the green button under “Math.”

- Press the green button under “Peaks & Valleys.”  A pop-up menu will appear.

- Press Enter to turn on “Label Peaks.”

- Press ESC to exit the menu.  The wavelength of maximum absorbance (λmax) will be labeled.  Record the λmax and its absorbance in the data section.

- If the instrument does not automatically detect your peak, follow steps 14-17.

- Press the green button under “Edit Graph.”

- Press the green button under “Edit Scale.”

- Press the green button under “Cursor.”

- Press the green button under “← Cursor” or “Cursor →” until the vertical line is at the location of your peak.  Record the λmax and its absorbance in the data section.

- Press the green Print button at the bottom right corner of the keypad.  Label the print-out.

- Repeat steps 14 -- 21 with the other samples.  Remember to label the printouts with the sample name.

20.	Record all data in the table below.  Fill in data for peak 2 only if two peaks are present.

Data:

| Color of Solution | Absorbance, Peak 1 | Wavelength of Max. Absorbance, Peak 1 | Absorbance, Peak 2 | Wavelength of Max. Absorbance, Peak 2 |
| --- | --- | --- | --- | --- |

Questions:

- Why is it necessary to wipe the cuvette before inserting it into the spec?

- What is the purpose of the blank?

- Did each colored solution have the highest absorbance in its complimentary color range?  Why or why not?

- Why do some colors have one wavelength of maximum absorbance and some have two?

# Text boxes

Color Wheel